## Slide 1
O7 O6 O5 O4 O3 O2 O1 O0 L1 +12V GND
A RS485 B O15 O14 O13 O12 O11 O10 O9 O8 L2
O7 O6 O5 O4 O3 O2 O1 O0 L1 +12V GND
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
A RS485 B O15 O14 O13 O12 O11 O10 O9 O8 L2
O7 O6 O5 O4 O3 O2 O1 O0 L1 +12V GND
A RS485 B O15 O14 O13 O12 O11 O10 O9 O8 L2
O7 O6 O5 O4 O3 O2 O1 O0 L1 +12V GND
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
A RS485 B O15 O14 O13 O12 O11 O10 O9 O8 L2
O7 O6 O5 O4 O3 O2 O1 O0 L1 +12V GND
A RS485 B O15 O14 O13 O12 O11 O10 O9 O8 L2
O7 O6 O5 O4 O3 O2 O1 O0 L1 +12V GND
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
A RS485 B O15 O14 O13 O12 O11 O10 O9 O8 L2
O7 O6 O5 O4 O3 O2 O1 O0 L1 +12V GND
A RS485 B O15 O14 O13 O12 O11 O10 O9 O8 L2
O7 O6 O5 O4 O3 O2 O1 O0 L1 +12V GND
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
A RS485 B O15 O14 O13 O12 O11 O10 O9 O8 L2
0 1 2 3 4 5 6 7
8 9 10 11 12 13 14 15
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-TH16-140824
SELECT SET
ADDRESS
A0 A1 A2 A3 A4 A5
0 1 2 3 4 5 6 7
8 9 10 11 12 13 14 15
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-TH16-140824
SELECT SET
ADDRESS
A0 A1 A2 A3 A4 A5
0 1 2 3 4 5 6 7
8 9 10 11 12 13 14 15
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-TH16-140824
SELECT SET
ADDRESS
A0 A1 A2 A3 A4 A5
0 1 2 3 4 5 6 7
8 9 10 11 12 13 14 15
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-TH16-140824
SELECT SET
ADDRESS
A0 A1 A2 A3 A4 A5
0 1 2 3 4 5 6 7
8 9 10 11 12 13 14 15
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-TH16-140824
SELECT SET
ADDRESS
A0 A1 A2 A3 A4 A5

## Slide 2
ADDRESS
0 1 2 3 4 5 6 7
A0 A1 A2 A3 A4 A5
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-JL8-120824
SEL
DN
UP
ADDRESS
0 1 2 3 4 5 6 7
A0 A1 A2 A3 A4 A5
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-JL8-120824
SEL
DN
UP
ADDRESS
0 1 2 3 4 5 6 7
A0 A1 A2 A3 A4 A5
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-JL8-120824
SEL
DN
UP
ADDRESS
0 1 2 3 4 5 6 7
A0 A1 A2 A3 A4 A5
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-JL8-120824
SEL
DN
UP
3DN 3UP 2DN 2UP 1DN 1UP 0DN 0UP L1 +12V GND
3DN 3UP 2DN 2UP 1DN 1UP 0DN 0UP L1 +12V GND
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
A RS485 B 7DN 7UP 6DN 6UP 5DN 5UP 4DN 4UP
L1
A RS485 B 7DN 7UP 6DN 6UP 5DN 5UP 4DN 4UP
3DN 3UP 2DN 2UP 1DN 1UP 0DN 0UP L1 +12V GND
3DN 3UP 2DN 2UP 1DN 1UP 0DN 0UP L1 +12V GND
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
A RS485 B 7DN 7UP 6DN 6UP 5DN 5UP 4DN 4UP
L1
A RS485 B 7DN 7UP 6DN 6UP 5DN 5UP 4DN 4UP
ADDRESS
0 1 2 3 4 5 6 7
A0 A1 A2 A3 A4 A5
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-JL8-120824
SEL
DN
UP
3DN 3UP 2DN 2UP 1DN 1UP 0DN 0UP L1 +12V GND
3DN 3UP 2DN 2UP 1DN 1UP 0DN 0UP L1 +12V GND
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
A RS485 B 7DN 7UP 6DN 6UP 5DN 5UP 4DN 4UP
L1
A RS485 B 7DN 7UP 6DN 6UP 5DN 5UP 4DN 4UP
3DN 3UP 2DN 2UP 1DN 1UP 0DN 0UP L1 +12V GND
3DN 3UP 2DN 2UP 1DN 1UP 0DN 0UP L1 +12V GND
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
ALL CHANNELS 10A max. / SINGLE 2A max. / 400Vac max.
A RS485 B 7DN 7UP 6DN 6UP 5DN 5UP 4DN 4UP
L1
A RS485 B 7DN 7UP 6DN 6UP 5DN 5UP 4DN 4UP

## Slide 3
0 1 2 3 4 5 6 7
SEL
SET
A0 A1 A2 A3 A4 A5
ADDRESS
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-RE8-211024
0 1 2 3 4 5 6 7
SEL
SET
A0 A1 A2 A3 A4 A5
ADDRESS
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-RE8-211024
A RS485 B NO8 CM8 NO7 CM7 NO6 CM6 NC6 NC5 CM5 NC5
NO4 CM4 NO3 CM3 NO2 CM2 NC2 NC1 CM1 NO1 +12V GND
ONE CHANNEL 8A max. / 400Vac max.
NO4 CM4 NO3 CM3 NO2 CM2 NC2 NC1 CM1 NO1 +12V GND
A RS485 B NO8 CM8 NO7 CM7 NO6 CM6 NC6 NC5 CM5 NC5
ONE CHANNEL 8A max. / 400Vac max.
0 1 2 3 4 5 6 7
SEL
SET
A0 A1 A2 A3 A4 A5
ADDRESS
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-RE8-211024
A RS485 B NO8 CM8 NO7 CM7 NO6 CM6 NC6 NC5 CM5 NC5
NO4 CM4 NO3 CM3 NO2 CM2 NC2 NC1 CM1 NO1 +12V GND
ONE CHANNEL 8A max. / 400Vac max.
NO4 CM4 NO3 CM3 NO2 CM2 NC2 NC1 CM1 NO1 +12V GND
A RS485 B NO8 CM8 NO7 CM7 NO6 CM6 NC6 NC5 CM5 NC5
ONE CHANNEL 8A max. / 400Vac max.
0 1 2 3 4 5 6 7
SEL
SET
A0 A1 A2 A3 A4 A5
ADDRESS
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-RE8-211024
0 1 2 3 4 5 6 7
SEL
SET
A0 A1 A2 A3 A4 A5
ADDRESS
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-RE8-211024
A RS485 B NO8 CM8 NO7 CM7 NO6 CM6 NC6 NC5 CM5 NC5
NO4 CM4 NO3 CM3 NO2 CM2 NC2 NC1 CM1 NO1 +12V GND
ONE CHANNEL 8A max. / 400Vac max.
NO4 CM4 NO3 CM3 NO2 CM2 NC2 NC1 CM1 NO1 +12V GND
A RS485 B NO8 CM8 NO7 CM7 NO6 CM6 NC6 NC5 CM5 NC5
ONE CHANNEL 8A max. / 400Vac max.
A RS485 B NO8 CM8 NO7 CM7 NO6 CM6 NC6 NC5 CM5 NC5
NO4 CM4 NO3 CM3 NO2 CM2 NC2 NC1 CM1 NO1 +12V GND
ONE CHANNEL 8A max. / 400Vac max.
NO4 CM4 NO3 CM3 NO2 CM2 NC2 NC1 CM1 NO1 +12V GND
A RS485 B NO8 CM8 NO7 CM7 NO6 CM6 NC6 NC5 CM5 NC5
ONE CHANNEL 8A max. / 400Vac max.

## Slide 4
ADDRESS
1 2 3 4
A0 A1 A2 A3 A4 A5
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-DM4-180824
SEL
DN
UP
ADDRESS
1 2 3 4
A0 A1 A2 A3 A4 A5
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-DM4-180824
SEL
DN
UP
ADDRESS
1 2 3 4
A0 A1 A2 A3 A4 A5
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-DM4-180824
SEL
DN
UP
N3 CH3 L3 N4 CH4 L4 +12V GND
ONE CHANNEL 2A max. / 400Vac max.
A RS485 B N2 CH2 L2 N1 CH1 L1
ONE CHANNEL 2A max. / 400Vac max.
N3 CH3 L3 N4 CH4 L4 +12V GND
A RS485 B N2 CH2 L2 N1 CH1 L1
N3 CH3 L3 N4 CH4 L4 +12V GND
ONE CHANNEL 2A max. / 400Vac max.
A RS485 B N2 CH2 L2 N1 CH1 L1
ONE CHANNEL 2A max. / 400Vac max.
N3 CH3 L3 N4 CH4 L4 +12V GND
A RS485 B N2 CH2 L2 N1 CH1 L1
ADDRESS
1 2 3 4
A0 A1 A2 A3 A4 A5
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-DM4-180824
SEL
DN
UP
N3 CH3 L3 N4 CH4 L4 +12V GND
ONE CHANNEL 2A max. / 400Vac max.
A RS485 B N2 CH2 L2 N1 CH1 L1
ONE CHANNEL 2A max. / 400Vac max.
N3 CH3 L3 N4 CH4 L4 +12V GND
A RS485 B N2 CH2 L2 N1 CH1 L1
N3 CH3 L3 N4 CH4 L4 +12V GND
ONE CHANNEL 2A max. / 400Vac max.
A RS485 B N2 CH2 L2 N1 CH1 L1
ONE CHANNEL 2A max. / 400Vac max.
N3 CH3 L3 N4 CH4 L4 +12V GND
A RS485 B N2 CH2 L2 N1 CH1 L1
ADDRESS
1 2 3 4
A0 A1 A2 A3 A4 A5
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-DM4-180824
SEL
DN
UP

## Slide 5
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-RGBW-MILIGHT
RESET
FLASH
MODE
POWER
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-RGBW-MILIGHT
RESET
FLASH
MODE
POWER
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-RGBW-MILIGHT
RESET
FLASH
MODE
POWER
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-RGBW-MILIGHT
RESET
FLASH
MODE
POWER
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-RGBW-MILIGHT
RESET
FLASH
MODE
POWER
JUBERA d.o.o. Sarajevo
www.imedia.ba
LUX-RGBW-MILIGHT
RESET
FLASH
MODE
POWER
A RS485 B
- 12V +
- 12V +
A RS485 B